## Sheet1
Pelto Verdon Guest House
SPECIFICATIONS
EXTERIOR |  | ITEM | QUAN. | DESCRIPTION | MANF | MODEL | PLUM? | ELEC? | MECH? | COMMENTS
| WALL 1 | WL-1 |  | 2X4 WOOD STUD WALL W/ STUCCO FINISH ON 1/2" CEMENTIOUS SHEATHING EXTERIOR AND 1/2" GWB INTERIOR
| WALL 2 | WL-2 |  | 2X6 WOOD STUD WALL W/ STUCCO FINISH ON 1/2" CEMENTIOUS SHEATHING EXTERIOR AND 1/2" GWB INTERIOR
| WALL 3 | WL-3 |  | 2X4 WOOD STUD WALL W/ TILE FINISH ON 1/2" CEMENTIOUS SHEATHING EXTERIOR AND 1/2" GWB INTERIOR
| WALL 4 | WL-4 |  | 2X6 WOOD STUD WALL W/ TILE FINISH ON 1/2" CEMENTIOUS SHEATHING EXTERIOR AND 1/2" GWB INTERIOR
| STEEL COL 1 | COL-1 | 6 | 6x6 TS | [5 empty] | to top of footing
| STEEL COL 2 | COL-2 | 2 | 4x4 TS | [5 empty] | to top of footing
| STEEL BEAM 1 | BM-1 | 1 | 8x6 TS | [5 empty] | to top of footing
| STEEL BEAM 2 | BM-2 | 1 | 12x22 WS
| STEEL BEAM 3 | BM-3 | 2 | 10x19 WS
| FOUND WALL | WL-5 |  | 8x8x16 CMU W/ V REBAR @ 48" O.C.
| WINDOW 1 | WIN-1
| WINDOW 2 | WIN-2
| WINDOW 3 | WIN-3
| BRIESE SOLIEL SUN SHADE | SUN-1 | 2
| BRIESE SOLIEL SUN SHADE | SUN-2 | 3
| FRONT DOOR | DR-1 | 1 | 3-0" X 8'-0" STOREFRONT | [5 empty] | obscur glass 80%, low E
| REAR DOOR | DR-2 | 1
| EUROWALL | DR-3 | 1
| FRONT DOOR HARDWARE | HDW-1 | 1
| REAR DOOR HARDWARE | HDW-2 | 1
| FLOOR FRAMING | FF-1 |  | 14" OPEN WEB WOOD TRUSSES
| MECHANICAL PLATFORM FRAMING | FF-2 |  | 2x8 S.Y.P. JOISTS @ 16" O.C.
| ROOF FRAMING | RF-1 |  | 1.75" x 11.25" LVL @ 24" O.C.
| ROOFING | ROOF-1 |  | ALUMINUM KYNAR FINISH 22 GA. STANDING SEAM
| UNDER FLOOR INSUL | INS-1 |  | R-13 OPEN CELL SPRAY FOAM
| WALL INSUL | INS-2 |  | R-19 CLOSED CELL SPRAY FOAM
| CEILING INSUL | INS-3 |  | R-38 CLOSED CELL SPRAY FOAM
INTERIOR | FLOOR TILE | TIL-1
| WALL COLOR/FINISH | PT-1
| CEILING COLOR/FINISH | PT-2
| INTERIOR WALL 1 | WL-6
| INTERIOR WALL 2 | WL-7
| INTERIOR WALL 3 | WL-8
| INTERIOR DOOR | DR-4 | 1
| INTERIOR DOOR | DR-5 | 1
| INTERIOR DOOR HARDWARE | HDR-4 | 1
| INTERIOR DOOR HARDWARE | HDR-5 | 1
BEDROOM | CLOSET BUILT IN | CAB-1 | 1
| WASHER/DRYER STACK | A/B | 1
BATHROOM | TOILET | C | 1
| TOWEL BAR | D | 1
| TP HOLDER | E | 1
| SHOWER ENCLOSURE | F | 1
| SHOWER ENCLOSURE DOOR | G | 1
| SHOWER DRAIN | H | 1
| SHOWER SPRAY | J | 1
| SHOWER FAUCET | K | 1
| SHOWER MIRROR | L | 1
| VANITY MIRROR | M | 1
| SHOWER FLOOR TILE | TIL-2
| SHOWER WALL TILE | TIL-3
| SHOWER ACCENT TILE | TIL-4
| VANITY | CAB-2 | 1
| SINK | N | 1
| FAUCET | P | 1
| SHELVING | SH-1
HALL | LADDER/SHELVING | SH-2
KITCHEN | ISLAND (LOW) | CTR-1
| ISLAND LOW SUPPORT | CAB-3 | 2
| ISLAND HIGH | CTR-2
| ISLAND HIGH CABINET SELECTION | CAB-4
| ISLAND TRANSITION | CTR-3
| DISH WASHER DRAWER | Q | 1
| SINK | R | 1
| FAUCET | S | 1
| WALL OF CABINETS SELECTION | CAB-5
| COUNTER TOP | CTR-4
| OVEN | T | 1
| MICROWAVE | U | 1
| RANGE TOP | V | 1
| VENT HOOD | W | 1
| TRASH | X | 1
| WINE COOLER | Y | 1
| REFRIDGERATOR | Z | 1
LIGHTING/MECH | FRONT ENTRY LT | L-1 | 3
| DECK LT | L-2 | 4
| BEDROOM CLG LT | L-3 | 4
| BEDROOM CLG FAN | FAN-1 | 1
| BATHROOM VANITY LT | L-4 | 1
| BATHROOM CLG LT | L-5 | 2
| BATHROOM FAN | FAN-2 | 1
| KITCHEN PENDANT LT | L-6 | 1
| KITCHEN FIELD LT | L-7 | 6
| POOL ROOM LT | L-8 | 6
| POOL ROOM FAN | FAN-3 | 2
| OUTLETS 1 | OUT-1 | 12
| OUTLETS 2 GFCI | OUT-2 | 6
| OUTLETS 3 EXTERIOR | OUT-3 | 2
| ELECTRICAL PANEL BOX | PANEL | 1
| MECHANICAL UNIT | MU-1 | 1 | [6 empty] | dehumidifyer
| MECHANICAL RETURN | MR-1
| MECH DIFFUSER 1 | MD-1
| MECH DIFFUSER 2 | MD-2
| WATER HEATER | WH-1 | 1 | [6 empty] | on demand gas
| HOSE BIBB | HB-1 | 1
| EXTERIOR SHOWER | HB-2 | 1